## State code 27: Battery storage facility development

Planning guideline State code 27: Battery storage facility development provides direction on how to address this code.

Table 27.1: Material change of use

| Performance outcomes | Response |
| --- | --- |
| Areas of high ecological value and associated wildlife habitats |  |
| PO1 Development is located, sited and designed to ensure that the following are protected from adverse impacts: - protected wildlife and associated habitats; and - areas of high ecological value. | Complies with PO# Use this column to indicate whether compliance is achieved with the relevant PO (or if they do not apply), and explain why |
| Risk mitigation |  |
| PO2 Development is designed, sited and constructed to ensure that risks from physical hazards, chemical hazards and battery failure hazards are avoided and/or mitigated with respect to: - human health and safety; and - the built and natural environment. |  |
| PO3 Development mitigates the risks of fire, explosion and thermal runaway from battery storage infrastructure. |  |
| PO4 Development is designed to ensure fire and thermal events can be contained and isolated to prevent escalation and propagation to other developments and uses on and offsite. |  |
| Incident response |  |
| PO5 Development is designed to facilitate effective and efficient emergency service access and response in the event of a fire, bushfire (including cleared fire fighting areas at the interface of hazardous vegetation), explosion, contamination leak or any other incident requiring an emergency service response. |  |
| PO6 The development: - provides appropriate fire detection, monitoring and notification to the site operator; and - ensures the electrical safety of the facility, in the event of an incident requiring emergency response. |  |
| PO7 Development demonstrates that there is capacity to provide a reliable, sustainable and fit-for-purpose water supply. |  |
| Social impacts |  |
| PO8 Development demonstrates that either: - a community benefit agreement has been entered into for development requiring social impact assessment; or - where a community benefit agreement has not been entered into, social impacts of the development, including workforce accommodation, local business and industry impacts, community health and well-being, are identified, managed, mitigated, counterbalanced and monitored. |  |
| Agricultural land |  |
| PO9 Development is located and designed to ensure there is no unacceptable loss of high-quality agricultural land. |  |
| PO10 Development does not fragment high-quality agricultural land in a way that restricts connectivity of agricultural land necessary to ensure its ongoing productivity and operation. |  |
| PO11 Development is constructed to maintain the fertility and soil attributes of high-quality agricultural land and to enable decommissioning at the end of operations to return the land to pre-construction agricultural land productive value. |  |
| PO12 Development on or adjacent to the stock route network maintains its operational efficiency and ongoing integrity and function. |  |
| Natural hazards |  |
| PO13 Development is located and sited to avoid natural hazard areas including high erosion risk areas and bushfire prone areas. |  |
| PO14 Where development cannot be located and sited to avoid natural hazard areas (e.g. Bushfire prone areas, and high erosion risk areas), demonstrate that: - there is no suitable alternative location; - infrastructure can function effectively during and after a natural hazard event; and - mitigation measures are implemented to reduce the risk to people, property and the environment to a tolerable level. |  |
| PO15 Bushfire hazard is identified and risk is mitigated through strategies for vegetation management, landscape management, water supply, provision of appropriate access, identification of safe assembly or evacuation routes and establishing cleared and maintained asset protection zones around infrastructure that is wholly contained on site. |  |
| Protecting water quality and stormwater management |  |
| PO16 Development: - minimises the disturbance of high risk soils; and - manages the release of soil based contaminants. |  |
| PO17 Development maintains the water quality of receiving waters, waterways and wetlands by: - avoiding locating in waterways and wetlands; - minimising crossings of and interference with natural drainage lines, farm drainage and irrigation infrastructure; - minimising erosion and sediment run off; - managing drainage control; and - preserving the bank stability of affected waterways and drainage lines avoiding non-essential hardening or unnatural modification of the waterway. |  |
| PO18 Development prevents the release of contaminants to surface water or groundwater in the event of an incident, including a fire or explosion. |  |
| PO19 Development minimises interference with overland flow paths. |  |
| Acoustic amenity and vibration |  |
| PO20 Construction, operation, maintenance and decommissioning meets the acoustic quality objectives for sensitive receptors on or adjacent to the site identified in the Environmental Protection (Noise) Policy 2019. |  |
| PO21 Construction, operation, maintenance and decommissioning does not cause vibration impacts that adversely affect the operational performance or sensitive receptors within or adjacent to the site. |  |
| Visual impact |  |
| PO22 Development is sited and designed to: - minimise visual impacts on sensitive receptors; - protect the landscape values and scenic amenity of the surrounding landscape; and - provide screening and buffering to sensitive receptors the greatest extent feasible. |  |
| Lighting |  |
| PO23 Lighting associated with the development provides safe and effective illumination for site operations and maintenance, whilst minimising environmental impacts and visual impacts on sensitive receptors. |  |
| Transport networks |  |
| PO24 Construction, operation, maintenance and decommissioning activities associated with the development do not adversely impact the efficiency and condition of transport networks and infrastructure. |  |
| PO25 Construction, operation, maintenance and decommissioning activities associated with the development do not compromise the safety of users of the transport network. |  |
| PO26 Development delivers necessary upgrades to the transport network to ensure construction activities and ongoing maintenance do not adversely impact transport networks and infrastructure. |  |
| PO27 Development demonstrates that a safe, viable and practical haulage route can be secured to accommodate the movement of oversize/overmass vehicles during construction and ongoing maintenance activities. |  |
| PO28 Development provides safe, efficient, and sustainable vehicular access to the site for all vehicle types anticipated through construction, operation, maintenance and decommissioning. |  |
| Infrastructure |  |
| PO29 Development is located and designed to avoid unacceptable impacts resulting from proximity to current or approved resource activity or pipeline near or on the site. |  |
| PO30 Development is serviced by all relevant infrastructure commensurate with its scale and operational requirements. |  |
| Decommissioning |  |
| PO31 Relevant components of development, both after completion of construction and at cessation of operations, are decommissioned in a timely and efficient manner. |  |
| PO32 Development decommissioning ensures that: - materials removed from site are minimised; - materials that are removed from the site are disposed of at approved disposal facilities capable of receiving the materials; and - opportunities to reuse, recycle and/or repurpose the materials are deployed to the greatest extent feasible. |  |
| PO33 Decommissioning at end of operations ensures disturbance footprints are rehabilitated, and waterways and drainage patterns are reinstated. |  |
| PO34 Decommissioning incorporates design features that enable reuse, recycling, and recovery of battery components and associated infrastructure at end-of-life. |  |
| PO35 Decommissioning plans are secured by bonds or financial guarantees or other mechanism/s to safeguard compliance. |  |