State code 3: Development in a busway environment

Interim Guide to Development in a Transport Environment: Busway provides direction on how to address this code.

Table 3.1 Development in a busway environment

| Performance outcomes | Acceptable outcomes | Response |
| --- | --- | --- |
| Buildings and structures |  |  |
| PO1 The location of buildings, structures, infrastructure, services and utilities does not create a safety hazard in a busway corridor or cause damage to, or obstruct busway transport infrastructure. | AO1.1 Buildings, structures, infrastructure, services and utilities are not located in a busway corridor. AND AO1.2 Buildings, structures, infrastructure, services and utilities can be maintained without requiring access to a busway corridor. | Complies with PO# / AO# Use this column to indicate whether compliance is achieved with the relevant PO or AO (or if they do not apply), and explain why |
| PO2 Development does not add or remove loading that will cause damage to bus transport infrastructure or a busway corridor. | No acceptable outcome is prescribed. |  |
| PO3 Road, pedestrian and bikeway bridges over a busway corridor are designed and constructed to prevent projectiles from being thrown onto a busway. | AO3.1 Road, pedestrian and bikeway bridges include throw protection screens in accordance with section 4.9.3 of the Design Criteria for Bridges and Other Structures Manual, Department of Transport and Main Roads, 2018. |  |
| PO4 Construction activities do not cause ground movement or vibration impacts in a busway corridor. | No acceptable outcome is prescribed. |  |
| Filling, excavation and retaining structures |  |  |
| PO5 Filling, excavation and retaining structures do not interfere with, or result in damage to, infrastructure or services in a busway corridor. | No acceptable outcome is prescribed. |  |
| PO6 Filling, excavation, building foundations and retaining structures do not undermine or cause subsidence of a busway corridor. | No acceptable outcome is prescribed. |  |
| PO7 Filling, excavation, building foundations and retaining structures do not cause ground water disturbance in a busway corridor. | No acceptable outcome is prescribed. |  |
| PO8 Excavation, boring, piling, blasting or fill compaction during construction of a development does not result in ground movement or vibration impacts that would cause damage or nuisance to busway transport infrastructure or busway transport infrastructure works. | No acceptable outcome is prescribed. |  |
| PO9 Filling and excavation material does not cause an obstruction or nuisance in a busway corridor. | AO9.1 Development does not store fill, spoil or any other material in, or adjacent to, a busway corridor. |  |
| PO10 Filling and excavation does not cause wind-blown dust nuisance in a busway corridor. | AO10.1 Compaction of fill is carried out in accordance with the requirements of AS1289.0 2000 – Methods of testing soils for engineering purposes. AND AO10.2 Dust suppression measures are used during filling and excavation activities such as wind breaks or barriers and dampening of ground surfaces. |  |
| Stormwater and drainage |  |  |
| PO11 Development does not result in an actionable nuisance or worsening of stormwater, flooding or drainage impacts in a busway corridor. | No acceptable outcome is prescribed. |  |
| PO12 Run-off from the development site during construction of development does not cause siltation of stormwater infrastructure affecting a busway. | AO12.1 Run-off from the development site during construction of development is not discharged to stormwater infrastructure for a busway. |  |
| Access |  |  |
| PO13 Development prevents unauthorised access to a busway corridor. | AO13.1 Where development is abutting a busway corridor, a fence is provided along the property boundary in accordance with clause 4.1.6 of the Guide to Road Design Part 6B, Austroads 2015 and Part 6B of the Road Planning and Design Manual, 2nd edition, Department of Transport and Main Roads, 2016. |  |
| PO14 Vehicular access for a development does not create a safety hazard or result in worsening of operating conditions on busways. | No acceptable outcome is prescribed. |  |
| PO15 Development does not damage or interfere with public passenger transport infrastructure, public passenger services or pedestrian and cycle access to public passenger transport infrastructure and public passenger services. | AO15.1 Vehicular access and associated road access works are not located within 5 metres of public passenger transport infrastructure. AND AO15.2 Development does not necessitate the relocation of existing public passenger transport infrastructure. AND AO15.3 On-site vehicle circulation is designed to give priority to entering vehicles at all times so vehicles using a vehicular access do not obstruct public passenger transport infrastructure and public passenger services or obstruct pedestrian or cycle access to public passenger transport infrastructure and public passenger services. AND AO15.4 The normal operation of public passenger transport infrastructure or public passenger services is not interrupted during construction of the development |  |
| Planned upgrades |  |  |
| PO16 Development does not impede delivery of planned upgrades of busway transport infrastructure. | AO16.1 Development is not located on land identified by Department of Transport and Main Roads as land required for the planned upgrade of busway transport infrastructure. OR AO16.2 Development is sited and designed so that permanent buildings, structures, infrastructure, services or utilities are not located on land identified by the Department of Transport and Main Roads as land required for the planned upgrade of busway transport infrastructure. OR all of the following acceptable outcomes apply: AO16.3 Structures and infrastructure located on land identified by the Department of Transport and Main Roads as land required for the planned upgrade of a busway transport infrastructure are able to be readily relocated or removed without materially affecting the viability or functionality of the development. AND AO16.4 Development does not involve filling and excavation of, or material changes to, land required for a planned upgrade to busway transport infrastructure. AND AO16.5 Land is able to be reinstated to the pre-development condition at the completion of the use. |  |

Table 3.2 Environmental emissions

Statutory note: Where a busway is co-located in the same transport corridor as a state-controlled road, development should instead comply with Environmental emissions of State code 1: Development in a state-controlled road environment.

Where a busway is co-located in the same transport corridor as a railway, development should instead comply with Environmental emissions of State code 2: Development in a railway environment.

| Performance outcomes | Acceptable outcomes | Response |
| --- | --- | --- |
| Noise |  |  |
| Accommodation activities |  |  |
| PO17 Development involving: - an accommodation activity; or - land for a future accommodation activity minimises noise intrusion from a busway in habitable rooms. | AO17.1 A noise barrier or earth mound is provided which is design, sited and constructed: - to meet the following external noise criteria at all facades of the building envelope: - ≤55 dB(A) Leq (1 hour) facade corrected (maximum hour between 6 am and 10 pm); - ≤50 dB(A) Leq (1 hour) facade corrected (maximum hour between 10 pm and 6 am); - ≤64 dB(A) Lmax facade corrected (between 10pm and 6am); - in accordance with chapter 7 – Integrated noise barrier design of the Transport Noise Management Code of Practice – Volume 1 Road Traffic Noise, Department of Transport and Main Roads, 2013. OR all of the following acceptable outcomes apply: AO17.2 Buildings which include a habitable room are setback the maximum distance possible from a busway. AND AO17.3 Buildings are designed and oriented so that habitable rooms are located furthest from a busway. AND AO17.4 Buildings are designed and constructed using materials which ensure that habitable rooms meet the following internal noise criteria: - ≤35 dB(A) Leq (1 hour) (maximum hour over 24 hours). | Complies with PO# / AO# Use this column to indicate whether compliance is achieved with the relevant PO or AO (or if they do not apply), and explain why |
| PO18 Development involving an accommodation activity minimises noise intrusion from a busway in outdoor spaces for passive recreation. | AO18.1 A noise barrier or earth mound is provided which is design, sited and constructed: - to meet the following external noise criteria in outdoor spaces for passive recreation: - ≤52 dB(A) Leq (1 hour) free field (maximum hour between 6 am and 10 pm); - ≤66 dB(A) Lmax free field in accordance with chapter 7 – Integrated noise barrier design of the Transport Noise Management Code of Practice – Volume 1 Road Traffic Noise, Department of Transport and Main Roads, 2013. OR AO18.2 Each dwelling has access to an outdoor space for passive recreation which is shielded from a busway by a building, a solid gap-free fence, or other solid gap-free structure. AND AO18.3 Each dwelling with a balcony directly exposed to noise from a busway has a continuous solid gap-free balustrade (other than gaps required for drainage purposes to comply with the Building Code of Australia). |  |
| Childcare centres and educational establishments |  |  |
| PO19 Development involving a: - childcare centre; or - educational establishment minimises noise intrusion from a busway in indoor education areas and indoor play areas. | AO19.1 A noise barrier or earth mound is provided which is designed, sited and constructed: to meet the following external noise criteria at the building envelope: - ≤55 dB(A) Leq (1 hour) facade corrected (maximum hour during normal opening hours); - in accordance with chapter 7 – Integrated noise barrier design of the Transport Noise Management Code of Practice – Volume 1 Road Traffic Noise, Department of Transport and Main Roads, 2013. OR all of the following acceptable outcomes apply: AO19.2 Buildings which include indoor education areas and indoor play areas are setback the maximum distance possible from a busway. AND AO19.3 Buildings are designed and oriented so that indoor education areas and indoor play areas are located furthest from the busway. AND AO19.4 Buildings are designed and constructed using materials which ensure indoor education areas and indoor play areas meet the following internal noise criteria: - ≤35 dB(A) Leq (1 hour) (maximum hour during opening hours). |  |
| PO20 Development involving a: - childcare centre; or - educational establishment minimises noise intrusion from a busway in outdoor education areas and outdoor play areas. | AO20.1 A noise barrier or earth mound is provided which is design, sited and constructed: - to meet the following external noise criteria in outdoor education areas and outdoor play areas: - ≤52 dB(A) Leq (1 hour) free field (maximum hour during normal opening hours); - ≤66 dB(A) Lmax free field (during normal opening hours); - in accordance with chapter 7 – Integrated noise barrier design of the Transport Noise Management Code of Practice – Volume 1 Road Traffic Noise, Department of Transport and Main Roads, 2013. OR AO20.2 Each outdoor education area and outdoor play area is shielded from noise generated from a busway by a building, a solid gap-free fence, or other solid gap-free structure. |  |
| Hospitals |  |  |
| PO21 Development involving a hospital minimises noise intrusion from a busway in patient care areas. | AO21.1 Hospitals are designed and constructed using materials which ensure patient care areas meet the following internal noise criteria: - ≤35 dB(A) Leq (1 hour) (maximum hour during opening hours). |  |
| Vibration |  |  |
| Hospitals |  |  |
| PO22 Development involving a hospital minimises vibration impacts from a busway in patient care areas. | AO22.1 Hospitals are designed and constructed to ensure vibration in the treatment area of a patient care area does not exceed a vibration dose value of 0.1m/s1.75. AND AO22.2 Hospitals are designed and constructed to ensure vibration in the ward area of a patient care area does not exceed a vibration dose value of 0.4m/s1.75. |  |
| Air and light |  |  |
| PO23 Development involving an accommodation activity minimises air quality impacts from a busway in outdoor spaces for passive recreation. | AO23.1 Each dwelling has access to an outdoor space for passive recreation which is shielded from a busway by a building, a solid gap-free fence, or other solid gap-free structure. |  |
| PO24 Development involving a: - childcare centre; or - educational establishment minimises air quality impacts from a busway in outdoor education areas and outdoor play areas. | AO24.1 Each outdoor education area and outdoor play area is shielded from a busway by a building, solid gap-free fence, or other solid gap-free structure. |  |
| PO25 Development involving an accommodation activity or hospital minimises lighting impacts from a busway. | AO25.1 Buildings for an accommodation activity or hospital are designed to minimise the number of windows or transparent/translucent panels facing a busway. OR AO25.2 Windows facing a busway include treatments to block light from a busway. |  |

Table 3.3 Development in a future busway environment

| Performance outcomes | Acceptable outcomes | Response |
| --- | --- | --- |
| PO26 Development does not impede delivery of busway transport infrastructure in a future busway corridor. | AO26.1 Development is not located in a future busway corridor. OR AO26.2 Development is sited and designed so that permanent buildings, structures, infrastructure, services or utilities are not located in a future busway corridor. OR all of the following acceptable outcomes apply: AO26.3 Structures and infrastructure located in a future busway corridor are able to be readily relocated or removed without materially affecting the viability or functionality of the development. AND AO26.4 Development does not involve filling and excavation of, or material changes to, a future busway corridor. AND AO26.5 Land is able to be reinstated to the pre-development condition at the completion of the use. | Complies with PO# / AO# Use this column to indicate whether compliance is achieved with the relevant PO or AO (or if they do not apply), and explain why |
| PO27 Filling, excavation, building foundations and retaining structures do not undermine or cause subsidence of a future busway corridor. | No acceptable outcome is prescribed. |  |
| PO28 Fill material from a development site does not result in contamination of land for a future busway corridor. | AO28.1 Fill material is free of contaminants including acid sulfate content. AND AO28.2 Compaction of fill is carried out in accordance with the requirements of AS 1289.0 2000 – Methods of testing soils for engineering purposes. |  |
| PO29 Development does not result in an actionable nuisance, or worsening of, stormwater, flooding or drainage impacts in a future busway corridor. | No acceptable outcome is prescribed. |  |