# State code 21: Hazardous chemical facilities

Planning guideline – State code 21: Hazardous chemical facilities provides direction on how to address this code.

Table 21.1: Material change of use

| Performance outcomes | Response |
| --- | --- |
| Off-site impacts—vulnerable land use or land zoned for a vulnerable land use |  |
| PO1 The hazardous chemical facility does not create a dangerous dose to human health. | Complies with PO# Use this column to indicate whether compliance is achieved with the relevant PO (or if they do not apply), and explain why |
| Off-site impacts—sensitive land use or land zoned for a sensitive land use |  |
| PO2 The hazardous chemical facility does not create a dangerous dose to human health. |  |
| Off-site impacts—commercial or community activity land use or land zoned for a commercial or community activity land use |  |
| PO3 The hazardous chemical facility does not create a dangerous dose to human health. |  |
| Off-site impacts—open space land use or land zoned for an open space land use |  |
| PO4 The hazardous chemical facility, does not create: - a dangerous dose to human health; or - where (a) cannot be achieved, an individual fatality risk level of 10 x 10-6/year and the societal risk criteria in figure 21.1. |  |
| Off-site impacts—industrial land use or land zoned for an industrial land use |  |
| - PO5 The hazardous chemical facility, does not create either of the following: - a dangerous dose to the built environment; and - an individual fatality risk level of 50 x 10-6/year. |  |
| - Storage and handling areas |  |
| PO6 Storage and handling areas for fire risk hazardous chemicals are provided with a 24-hour monitored fire detection system that has the ability to detect a fire in its early stages and notify an emergency responder at all times. |  |
| PO7 Storage and handling areas for packages of liquid or solid fire risk hazardous chemicals are provided with a spill containment system with a working volume capable of containing a minimum of 100 percent of all packages (prescribed hazardous chemicals and/or non-hazardous chemicals) within the area plus the output of any fixed firefighting system provided for the area over a minimum of 90 minutes. |  |
| PO8 Storage and handling areas for liquid or solid fire risk hazardous chemicals in tanks are provided with a spill containment system with a working volume capable of containing a minimum of: - 110 percent of the largest tank within a spill compound or 25 percent of the aggregate where multiple tanks are located within a spill compound, whichever is the greater; and - the output of any fixed firefighting system provided for any bulk tank within a spill compound over a minimum of 90 minutes. |  |
| PO9 Storage and handling areas for prescribed hazardous chemicals that, if in contact with each other, may react to produce a fire, explosion or other harmful reaction, or a flammable, toxic or corrosive vapour are designed to prevent contact between the prescribed hazardous chemicals. |  |
| PO10 Development is designed and sited to mitigate impacts on storage and handling areas from natural hazard including, but not limited to: - flood; - bushfire; - erosion; - storm tide inundation; - landslide; - earthquake; - wind action. |  |
| All development |  |
| PO11 Development is designed and sited to mitigate the risks from hazard scenarios occurring at existing hazardous chemical facilities. |  |